## Slide 1
Daniel L. Benway
Systems & Network Administrator / Engineer
Information Security Architect Lead
BSc CS, MCSE (NT4, 2000), MCTS (SCCM 2012), Security+, Network+, CCNA (2.0), CLP (AD R4)
https://www.LinkedIn.com/in/DanielLBenway
https://www.DanielLBenway.net
@Daniel_L_Benway
BCP & DRP Overview (business continuity plan, disaster recovery plan)
Notes: Start with why
Shout-outs:
why at this conference
why at this talk
why interested
(Follow Ashley’s suggestions here.)

## Slide 2: BCP & DRP Terminology:

## Slide 3: DRP vs. BCP:
  DRP (disaster recovery plan/ning):
    reactive
    very narrow in scope
    how to recover a specific single thing after a disruption
  BCP (business continuity plan/ning):
    both preventive and reactive
    broad in scope
    includes (in order):
      analysis
      solution design
      implementation of solution
      testing of solution
      ongoing maintenance of the BCP

## Slide 4: Which Do We Need?
A corporate BCP includes all parts of the business, including but not limited to IT.
An IT BCP handles all of the services IT provides as if the IT department were itself a business.
An IT BCP is more than just a collection of IT DRPs; it includes all of the normal parts of a BCP (analysis, solution design, implementation of solution, testing of solution, ongoing maintenance of the BCP).

## Slide 5: Threats vs. Risks:
  A key service is dependent upon its dependencies.
  Threats cause risks to disrupt dependencies and stop dependent services.
  Threats → Risks → Dependencies → Services
  E.g. a thunderstorm (a threat) causes the power to fail (a risk) which causes the server (a dependency) to crash so that medical records (a dependent service) are unavailable.

## Slide 6: BCP Ideology:

## Slide 7: The Critical, Overlooked Principles of BCP:
  "No battle plan survives contact with the enemy."
            -German military strategist Helmuth von Moltke
  "Plans are useless, but planning is indispensable."
  -General Dwight David Eisenhower
  BCP is still very much an evolving field so each ‘authoritative’ source simply tries in its own way to get you to consider:
    what you do
    what you need most to do it
    what can go wrong
    how you prevent things from going wrong (resilience)
    how you recover when things do go wrong (recoverability)
Notes: Ask for comments after the second quote.

## Slide 8: The Critical, Overlooked Principles of BCP:
  BCP must be a useful tool, not just something on paper that you can point to and say you have (pragmatic versus academic).
  BCP should be concise and useful, providing actionable value, not complex and verbose for its own sake.
Notes:   We have all seen countless numbers of companies that have reams and reams of BCP that is so burdensome and filled with vague but accepted legal and industry terminology and jargon that no one ever reads it, implements it, or gets any real value from it. When a disruption occurs the BCP lies dusty in the BCP Director’s or incident manager’s office while the IT staff scrambles to get the systems operational. Most organizations will be a lot better off if they create a simple plain-English BCP that contains processes and procedures they can realistically implement and use, rather than tomes full of lofty terms and steps from which their under-staffed, over-utilized, and under-funded team will never truly benefit.

## Slide 9: The Critical, Overlooked Principles of BCP:
  Do not sensationalize:
    more likely to be faced with a burst pipe than you are a hurricane or flood
  Disruptions can be:
    sudden or slow
    from outside or inside
    from external forces or oneself
  You cannot protect every thing from every threat or risk:
    focus on key services and their key dependencies
    focus on most probable threats and risks
    this level of planning and effort will help for all other services, dependencies, threats, and risks
Notes: Ask about ‘this level of planning...’

## Slide 10: The Critical, Overlooked Principles of BCP:
  BCP must be maintained (it has a full and continuous ‘lifecycle’, not done once and ‘finished’)
  BCP should change as your organization does:
    what your business does will change
    your business values will change
    your abilities to fulfill a BCP will change (location, personnel, processes, resources, suppliers)

## Slide 11: Benefits of BCP:
Notes: Ask ‘What are some benefits of BCP?’

## Slide 12: Some Benefits of BCP:
increases the likelihood of success during and after a disruption
gets you prepared for, and started on the right track during a disruption
during normal operations...
  gets you focused on what your organization does and how, thus clarifying all manner of decisions to those ends
  gets you focused on your key items so they don’t get neglected or forgotten
  increases smoothness and efficacy
  creates an environment where BCP is a normal activity - i.e. ‘buy-in’
  helps with the onboarding of new personnel
  enhances your organization’s reputation
  fulfills contractual obligations
  demonstrates due diligence
  increasingly required for regulatory compliance
  reduces insurance premiums

## Slide 13: BCP Lifecycle:

## Slide 14: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
analysis
solution design
implementation of solution
testing of solution
ongoing maintenance of the BCP
Notes: Explain the top of the screen.

## Slide 15: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
BCP Analysis is comprised of four parts:
BIA (business impact analysis)
TRA (threat and risk analysis)
Impact Scenarios
Recovery Requirements

## Slide 16: BCP Lifecycle: Analysis: BIA → Solution → Implementation → Testing → Maintenance
BIA (business impact analysis) - a detailed assessment of your organization’s key services, the dependencies thereof, and your outage/recovery tolerances

## Slide 17: BCP Lifecycle: Analysis: BIA → Solution → Implementation → Testing → Maintenance
What are your key services? Daily, weekly, bi-weekly, monthly, quarterly, yearly? (e.g. applications, files/data, email, network, phone, etc.)
What is the criticality of each key service?
Who are the owners of each key service?
What are the key dependencies of each key service? Consider ‘LPPRS’ - location, personnel, processes, resources, and suppliers.
Who are the owners of each key dependency?
What are the recovery tolerances of each key dependency?
    MTPOD (maximum tolerable period of disruption)
    RTO (recovery time objective) - the reasonable and expected time to resolve a disruption
    MTDL (maximum tolerable data loss)
    RPO (recovery point objective) - the reasonable and expected level of resolution
    SLAs - the agreements have been made with the business

## Slide 18: BCP Lifecycle: Analysis: TRA → Solution → Implementation → Testing → Maintenance
TRA (threat and risk analysis) - an assessment of the threats and risks to each key dependency
  begin looking for and thinking in terms of threats and risks
  become familiar with TRA concepts and terminology (next slide)
  not possible or efficient to exhaustively delineate all threats and risks, or completely protect all dependencies
  do not over-sensationalize when considering threats and risks
  disruptions can be sudden onset or slow onset, they can come from outside or inside, they can be caused by external forces or oneself
  look at previously occurring threats and risks which are likely to happen again
Notes: Ask which of these they think is most important, and why?

## Slide 19: BCP Lifecycle: Analysis: TRA → Solution → Implementation → Testing → Maintenance
  TRA Terminology:
  threats cause risks to cause disruptions to dependencies which stop dependent services
  risk tolerance / appetite - the acceptable level of threat and risk
  TRA environment scope:
    wide - over which you have almost no control (global or national)
    immediate - over which you have some control (national or local)
    internal - over which you have the most control (local or internal)
  TRA approach:
    simple - one considers only the impact of each threat and risk to key dependencies
    managed - one considers the likelihood of each threat and risk as well as their impact to key dependencies
  risk response strategies:
    accept, create contingencies, eliminate, reduce, transfer
  residual risk - what remains after implementing risk response strategies
Notes: Ask the difference between ‘accept, create contingencies, eliminate, reduce, transfer’.

## Slide 20: BCP Lifecycle: Analysis: TRA → Solution → Implementation → Testing → Maintenance
Some threats and risks to consider:
  attack (physical or cyber)
  civil disturbance
  depletion of resources (internal or external)
  facilities failure
  hardware failure
  human sickness and absenteeism
  malware
  natural disaster
  site disaster
  software failure
  theft
  utility failure

## Slide 21: BCP Lifecycle: Analysis: TRA → Solution → Implementation → Testing → Maintenance
Datacenter analysis and audit for resilience and recoverability:
  documentation
  monitoring
  physical access
  environmental control (temperature and humidity)
  electrical (load, UPSs, generators, fuel)
  fire prevention, detection, and suppression
  hardware (network, firewalls, security appliances, proxies, gateways, servers, firmware, upgrade schedule)
  software (patches, upgrade schedule)
  data (mirroring, backups, archiving, tiering)

## Slide 22: BCP Lifecycle: Analysis: Impact Scenarios → Solution → Implementation → Testing → Maintenance
    how does each specific threat impact each specific key dependency
    how does each key dependency being down affect the dependent key services

## Slide 23: BCP Lifecycle: Analysis: Recovery Requirements → Solution → Implementation → Testing → Maintenance
    what business requirements constitute a recovery (e.g., people can receive and send email)
what technical requirements meet the business requirements that constitute a recovery (e.g., the mail servers, network, gateways, etc. are online)

## Slide 24: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
analysis
solution design
implementation of solution
testing of solution
ongoing maintenance of the BCP
Notes: Explain the top of the screen.

## Slide 25: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
Solutions should create resilience and recoverability of ‘LPPRS’* (location, personnel, processes, resources, suppliers).
*not an industry-adopted term

## Slide 26: BCP Lifecycle: Analysis → Solution: Location → Implementation → Testing → Maintenance
IT is seldom truly dependent upon location (unlike, for example, a mining company).
multiple sites
remote access

## Slide 27: BCP Lifecycle: Analysis → Solution: Personnel → Implementation → Testing → Maintenance
Personnel - people inside the organization (both IT and facilities personnel)
clearly defined BCP role holders
  BCP Director - oversees and ensures that all five parts of the BCP lifecycle are adhered to and complete
  Incident Manager, and Backup Incident Manager - central points of contact during a disruption, responsible for internal and external communication, high-level working familiarity with entire BCP
  SMEs responsible for resiliency, recoverability, and documentation of the systems they own, all of which is in their job descriptions and performance reviews (see ‘Maintenance’ section)
contact list of key personnel
  address, email, multiple phone numbers, skills, and systems over which they’re responsible
  current and previous staff (perhaps some on retainer)
    IT staff
    facilities staff (electrical, HVAC, physical security, etc.)
on-call schedule of key personnel
cross training of key personnel, with shadowing which is in their job descriptions and performance reviews
internal communication plan (communication within IT)
  incident management and escalation procedure
  call tree
  bridge number provided by a third party (available even if local systems are down)
  central status website and/or recorded phone message which is updated frequently during a disruption, provided by a third party (available even if local systems are down)
external communication plan (communication to the business)
  list of key business unit leaders, department heads, key stakeholders that are kept apprised ruing a disruption
  central status website and/or recorded phone message which is updated frequently during a disruption, provided by a third party (available even if local systems are down)

## Slide 28: BCP Lifecycle: Analysis → Solution: Processes → Implementation → Testing → Maintenance
  Processes - the procedures on which you critically depend, including normal, common activities, on a daily, weekly, bi-weekly, monthly, quarterly, and yearly basis
all non-industry-standard, custom, and proprietary processes should be changed to industry-standard wherever possible
all key processes should be well documented and cross trained, especially those that are non-industry-standard, custom, or proprietary
documentation
  all documentation should be stored in a location that is available even if local systems are down
  documentation should be on a system that provides search and index
  documentation should have clear owners, titles, revision history, each of which is clearly spelled out in each document
change control procedures should be well established to ensure resilience and recoverability
security procedures should be well established to ensure resilience and recoverability

## Slide 29: BCP Lifecycle: Analysis → Solution: Resources → Implementation → Testing → Maintenance
  Resources - facilities, hardware (including network), software, data
  Datacenter configured for resilience and recoverability: (from previous slide)
  documentation
  monitoring
  physical access
  environmental control (temperature and humidity)
  electrical (load, UPSs, generators, fuel)
  fire prevention, detection, and suppression
  hardware (network, firewalls, security appliances, proxies, gateways, servers, firmware, upgrade schedule)
  software (patches, upgrade schedule)
  data (mirroring, backups, archiving, tiering)

## Slide 30: BCP Lifecycle: Analysis → Solution: Suppliers → Implementation → Testing → Maintenance
suppliers - companies and people outside of the organization that provide resources
  contact list of suppliers currently needed for key dependencies
    redundant simultaneous sourcing when appropriate
    warranties
    SLAs
  contingency suppliers for key dependencies
  contact list of local authorities (e.g. FBI for cyber security issues)
  insurance

## Slide 31: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
analysis
solution design
implementation of solution
testing of solution
ongoing maintenance of the BCP
Notes: Explain the top of the screen.

## Slide 32: BCP Lifecycle: Analysis → Solution→ Implementation → Testing → Maintenance
  prioritization of the completion of solution items
    the BCP Director should work with the managers, team leads, and, most importantly, the SMEs to prioritize the solution items
  scheduling and milestones for the completion of solution items above
    the BCP Director should work with the managers, team leads, and, most importantly, the SMEs to set the scheduling and milestoning of the solution items
  ‘LPPRS’ (location, personnel, processes, resources, suppliers) - in addition to the resources needed for the completed solution, increased resources will be needed during the implementation of the solution
    personnel will have increased workloads
    suppliers will have increased workloads

## Slide 33: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
analysis
solution design
implementation of solution
testing of solution
ongoing maintenance of the BCP
Notes: Explain the top of the screen.

## Slide 34: BCP Lifecycle: Analysis → Solution→ Implementation → Testing → Maintenance
Recurrent Testing and Acceptance of Solution:
  different types of tests should occur at different intervals. From most to least frequent:
    communication - a test of the internal and external communication plans
    walkthrough - analysis and discussion of the plan by key personnel
    desktop scenario - a verbal implementation of the plan by key personnel given a specific set of contrived circumstances. Occasionally, these should be timed with added difficulties injected at random intervals. All circumstances and difficulties should be kept secret until the test begins.
    lab - tests of the plan on lab environment by key personnel
    live - tests of the plan on production environment by key personnel
  there is tremendous ROI in even the first three types of test, and they require very little additional resources, and virtually no risk
  create a permanent schedule of regular recurrent testing
  these are tests of the BCP, not of your personnel or suppliers

## Slide 35: BCP Lifecycle: Analysis → Solution → Implementation → Testing → Maintenance
analysis
solution design
implementation of solution
testing of solution
ongoing maintenance of the BCP
Notes: Explain the top of the screen.

## Slide 36: BCP Lifecycle: Analysis → Solution→ Implementation → Testing → Maintenance
Ongoing Maintenance of BCP:
  BCP and DRP become out of date very quickly: changes to business, key services, personnel, processes, resources, suppliers
  Establish a simple process by which normal IT staff report new and changed services, dependencies, threats, risks, locations, personnel, processes, resources, suppliers, etc. to the BCP Director.
  All owners of and contributors to the BCP have clearly defined accountability:
    integral part of their job descriptions
    line items in goals and performance reviews
      BCP documentation
      SME cross training and shadowing
      BCP tests
  Create a schedule for the regular repetition of entire BCP lifecycle (analysis, solution design, implementation of solution, recurrent testing and acceptance of solution, ongoing maintenance of BCP).

## Slide 38
Daniel L. Benway
Systems & Network Administrator / Engineer
Information Security Architect Lead
BSc CS, MCSE (NT4, 2000), MCTS (SCCM 2012), Security+, Network+, CCNA (2.0), CLP (AD R4)
https://www.LinkedIn.com/in/DanielLBenway
https://www.DanielLBenway.net
@Daniel_L_Benway
BCP & DRP Overview (business continuity plan, disaster recovery plan)